## CEW-01 Closure
Worksheet CEW-01: FORMAT FOR THE ESTIMATION OF CLOSURE COSTS
*FILL IN THE BOXES. THE REST WILL BE CALCULATED FOR YOU*
Soil Cap Components
I. | Slope & Fill |  | Calculation or Conversion
a. | Area to be capped | acres | x 4,840yd2/ac | 0 | yd2
b. | Depth of soil needed for slope and fill | inches | x 1yd/36in | 0 | yd
c. | Quantity of soil needed |  | a x b | 0 | yd3
d. | Percentage of soil from off-site
e. | Purchace unit cost for off-site material | /yd3
f. | Percentage of soil from on-site |  | (1 - d) | 100%
g. | Excavation unit cost (on-site material) | /yd3 |  | 0
h. | Total soil unit cost |  | (d x e) + (f x g) | 0 | /yd3
i. | Hauling, Placement and Spreading unit cost | /yd3 |  | 0
j. | Compaction unit cost | /yd3
k. | Total soil unit cost |  | h + i + j | 0 | /yd3
l. | Soil subtotal |  | k x b | 0
m. | Percent compaction
| Total Slope & Fill Cost |  | l x (1 + m) | 0
II. | Infiltration Layer Soil
Infiltration Soil Cost
a. | Area to be capped | acres | x 4,840yd2/ac | 0 | yd2
b. | Depth of infiltration soil needed | inches | x 1yd/36in | 0 | yd
c. | Quantity of infiltration soil needed |  | a x b | 0 | yd3
d. | Percentage of soil from off-site
e. | Purchace unit cost for off-site material | /yd3
f. | Percentage of soil from on-site |  | (1 - d) | 100%
g. | Excavation unit cost (on-site material) | /yd3
h. | Total infiltration soil unit cost |  | (d x e) + (f x g) | 0 | /yd3
i. | Hauling, Placement and Spreading unit cost | /yd3
j. | Compaction unit cost | /yd3
k. | Total infiltration soil unit cost |  | h + i + j | 0 | /yd3
l. | Infiltration soil subtotal |  | k x b | 0
m. | Percent compaction
n. | Subtotal Infiltration Soil Cost |  | l x (1 + m) | 0
Soil Admixture Cost
o. | Area to be capped | acres | x 4,840yd2/ac | 0 | yd2
p. | Soil admixture unit cost | /yd2
q. | Subtotal admixture cost |  | a x b | 0
Soil Testing
r. | Area to be capped | acres
s. | Testing unit cost | /acre
t. | Subtotal soil testing cost |  | a x b | 0
| Total Infiltration Soil Cost (soil, admixtures, and testing) |  | n + q + t | 0
III. | Erosion Control / Protective Cover Soil
a. | Area to be capped | acres | x 4,840yd2/ac | 0 | yd2
b. | Depth of soil needed | inches | x 1yd/36in | 0 | yd
c. | Quantity of soil needed |  | a x b | 0 | yd3
d. | Percentage of soil from off-site
e. | Purchace unit cost for off-site material | /yd3
f. | Percentage of soil from on-site |  | (1 - d) | 100%
g. | Excavation unit cost (on-site material) | /yd3
h. | Total erosion/protective soil unit cost |  | (d x e) + (f x g) | 0 | /yd3
i. | Hauling, Placement and Spreading unit cost | /yd3
j. | Compaction unit cost | /yd3
k. | Total soil unit cost |  | h + i + j | 0 | /yd3
l. | Erosion/Protective soil subtotal |  | k x b | 0
m. | Percent compaction
| Total Erosion Control/Protective Cover Soil Cost |  | l x (1 + m) | 0
IV. | Vegetative support soil (Topsoil)
a. | Area to be capped | acres | x 4,840yd2/ac | 0 | yd2
b. | Depth of topsoil needed | inches | x 1yd/36in | 0 | yd
c. | Quantity of topsoil needed |  | a x b | 0 | yd3
d. | Percentage of topsoil from off-site
e. | Purchace unit cost for off-site material | /yd3
f. | Percentage of topsoil from on-site |  | (1 - d) | 100%
g. | Excavation unit cost (on-site material) | /yd3
h. | Total topsoil unit cost |  | (d x e) + (f x g) | 0 | /yd3
i. | Hauling, Placement and Spreading unit cost | /yd3
j. | Total soil unit cost |  | h + i | 0 | /yd3
| Total Topsoil Cost |  | c x j | 0
V. | Vegetative Cover
a. | Area to be vegetated | acres
b. | Vegetative cover (seeding) unit cost | /acre
c. | Erosion control matting unit cost | /acre
| Total Vegetative Cover Cost |  | a x (b + c) | 0
|  |  |  | Soil Cap Component Subtotal (I + II + III + IV + V): | 0
Geosynthetic Barrier & Infiltration Layers
VI. | Flexible Membrane Liner |  | Calculation or Conversion
a. | Quantity of FML needed | acres | x 43,560ft2/ac | 0 | ft2
b. | Purchase unit cost | /ft2
c. | Installation unit cost | /ft2
d. | Total FML unit cost |  | b + c
| Total FML cost |  | a x d | 0
VII. | Geosynthetic Clay Liner
a. | Quantity of GCL needed | acres | x 43,560ft2/ac | 0 | ft2
b. | Purchase unit cost | /ft2
c. | Installation unit cost | /ft2
d. | Total GCL unit cost |  | b + c | 0 | /ft2
| Total GCL Cost |  | a x d | 0
|  |  |  | Geosynthetic Layers Subtotal (VI + VII): | 0
Drainage Components
VIII. | Sand or Gravel Drainage |  | Calculation or Conversion
a. | Area to be capped | acres | x 4,840yd2/ac | 0 | yd2
b. | Depth of sand or gravel needed | inches | x 1yd/36in | 0 | yd
c. | Quantity of drainage material needed |  | a x b | 0 | yd3
d. | Percentage of media from off-site
e. | Purchace unit cost for off-site material | /yd3
f. | Percentage of material from on-site |  | (1 - d) | 100%
g. | Excavation unit cost (on-site material) | /yd3
h. | Total drainage material unit cost |  | (d x e) + (f x g) | 0 | /yd3
i. | Hauling, Placement and Spreading unit cost | /yd3
j. | Compaction unit cost | /yd3
k. | Total drainage material unit cost |  | h + i + j | 0 | /yd3
l. | Drainage material subtotal |  | k x b | 0
m. | Percent compaction
| Total drainage material cost |  | l x (1 + m) | 0
IX. | Geotextile
a. | Quantity of geotextile needed | acres | x 43,560ft2/ac | 0 | ft2
b. | Purchase unit cost | /ft2
c. | Installation unit cost | /ft2
d. | Total geotextile unit cost |  | b + c | 0 | /ft2
| Total Geotextile Cost |  | a x d | 0
X. | Geonet Composite
a. | Quantity of geonet composite needed | acres | x 43,560ft2/ac | 0 | ft2
b. | Purchase unit cost | /ft2
c. | Installation unit cost | /ft2
d. | Total geonet composite unit cost |  | b + c | 0 | /ft2
| Total Geonet Composite Cost |  | a x d | 0
XI. | Drainage Tile
a. | Length of drainage tile needed | LF
b. | Purchase unit cost | /LF
c. | Trenching and backfilling cost | /LF
d. | Total drainage tile unit cost |  | b + c | 0 | /ft2
| Total Drainage Tile Cost |  | a x d | 0
XII. | Drainage Channels (Stormwater Control)
Drainage benches and berms
a. | Size of drainage bench needed | LF
b. | Drainage bench unit cost | /LF
c. | Subtotal drainage bench cost |  | a x b | 0
d. | Size of drainage swale/berm needed | LF
e. | Drainage swale/berm unit cost | /LF
f. | Subtotal drainage swale/berm cost |  | d x e | 0
Rip Rap
g. | Quantity of Rip Rap needed | yd2
h. | Rip rap unit cost | /yd2
i. | Total rip rap cost |  | g x h | 0
Gabian Baskets
j. | Quantity of gabian baskets needed | yd3
k. | Gabian basket unit cost | /yd3
l. | Subtotal gabian basket cost |  | j x k | 0
| Total Stormwater Control |  | c + f + i + l | 0
|  |  |  | Drainage Component Subtotal (VIII + IX + X + XI+ XII): | 0
Landfill Gas and Groundwater Features
XIII. | Landfill Gas Monitoring & Control Components |  | Calculation
Landfill Perimeter System
a. | Number of probes to be installed | probes
b. | LFG probe unit cost | /probe
c. | Subtotal LFG probe cost |  | a x b | 0
Landfill Control Systems
d. | Area to be closed | acres
e. | Average number of vents per acre | vents / acre
f. | LFG vent unit cost | /vent
g. | Subtotal LFG vent cost |  | d x e x f | 0
h. | Length of header pipe needed | LF
i. | Header pipe unit cost | /LF
j. | Header pipe installation cost | /LF
k. | Subtotal LFG active vent hook-up |  | h x (i + j) | 0
| Total Landfill Gas Management Cost |  | c + g + k | 0
XIV. | Groundwater Monitoring Components
a. | Hydrogeologic study cost
b. | Number of wells to be installed | wells
c. | GW Monitoring Well unit cost | /well
d. | Number of wells > 50 ft length | wells
e. | Additional well length over 50 ft | LF/well
f. | Unit cost for additional well length | /LF
| Total Groundwater Monitoring Well Cost |  | a + (b x c) + (d x e x f) | 0
|  |  |  | Landfill Gas & Groundwater Features Subtotal (XIII + XIV): | 0
Miscellaneous
XV. | Removal and Disposal of Stockpiled Material |  | Calculation
a. | Quantity of stockpiled materials | yd3
b. | Loading and Hauling unit cost | /yd3
c. | Disposal unit cost | /yd3
d. | Total Removal/Disposal Cost |  | a x (b + c) | 0
XVI. | Erosion/Sediment Control
a. | Quantity of silt fence needed | LF
b. | Silt Fence unit cost | /LF
| Total Silt Fence Cost |  | a x b | 0
XVII. | Landfill Access Road
a. | Size of LF access road | yd2
b. | Depth of gravel needed | inches | x 1yd/36in | 0 | yd
c. | Depth of asphalt needed | inches | x 1yd/36in | 0 | yd
d. | Total material needed |  | a x (b + c) | 0 | yd3
e. | Road material unit cost | /yd3
f. | Placement/Spreading unit cost | /yd3
| Total access road cost |  | c x (d + e) | 0
XVIII. | Site Security
Fencing
a. | Length of fencing needed | ft
b. | Fence unit cost | /ft
c. | Subtotal fencing cost |  | a x b | 0
Gate or Barrier
d. | Number of gates required
e. | Gate unit cost | /gate
f. | Subtotal gate cost |  | d x e | 0
Closed Sign
g. | Number of signs required
h. | Sign unit cost | /gate
i. | Subtotal sign cost |  | g x h | 0
| Total site security cost |  | c + f + i | 0
XIX. | Mobilization / Demobilization
a. | Cost for mobilization/demobilization
| Total mobilization/demobilization cost |  |  | 0
|  |  |  | Miscellaneous Subtotal (XV + … + XIX): | 0
| Closure Cost Subtotal (CCS): |  | (I + … + XIX) | 0
| Contingency (10%): |  | CCS x 0.10 | 0
Engineering & Documentation:
| Construction QA/QC (1%) |  | CCS x 0.01 | 0
| Closure Certification and CQA Report (1%) |  | CCS x 0.01 | 0
| Survey and as-builts (2%) |  | CCS x 0.02 | 0
Cost for survey and deed notation
| Total Engineering & Documentation Costs |  |  | 0
| Total Closure Cost: |  | CCS + Contingency + Engineering |  | 0
Facilities are not required to use Worksheets CEW-01 and CEW-02; these forms are merely provided for facility use in an effort to show the depth of items to be addressed when preparing closure and post-closure care cost estimates. Facility-specific or alternate worksheets will be accepted for review and should accompany a certified DEQ Form CE SWDF.
Note on B11: Purchase unit cost should include material and delivery cost.
Note on B22: At least 18 inches of earthen material with maximum hydraulic conductivity of 1x10-5 cm/sec is specified under 9 VAC 20-81-160.D.2.c. This layer can be substituted for a GCL as allowed under 9 VAC 20-81-160.D.2.d. and D.2.e.
Note on B28: Purchase unit cost should include material and delivery cost.
Note on B44: Soil testing should account for costs associated with testing the borrow source, test pad, and constructed liner, as applicable.
Note on B46: The unit cost should include the cost for field technician(s) and field and laboratory testing.
Note on B51: 6 to 24 inches of earthen material is specified under 9 VAC 20-81-160.D.2. The amount of erosion control / protective cover soil varies based on the type of cap selected.
Note on B56: Purchase unit cost should include material and delivery cost.
Note on B67: A vegetative support layer consisting of 6 inches of earthen material is specified for Alternate SLF and CDD LF Caps under 9 VAC 20-81-160.D.2.d. and 2.e.
Note on B72: Purchase unit cost should include material and delivery cost.
Note on B82: The unit cost should include costs associated with soil preparation, grading, seed, and fertilizer.
Note on B83: The unit cost should include the cost of installation.
Note on B89: The SLF and CDD alternate liner systems specified under 9 VAC 20-81-160.D.2.d. and 2.e. require the use of a barrier layer consisting of a FML with a minimum thickness of 40 mils.
Note on B91: Purchase unit cost should include material and delivery cost.
Note on B96: 9 VAC 20-81-160.D.2.d. and 2.e. allow for the use of a GCL in lieu of an 18-inch thick soil infiltration layer.
Note on B98: Purchase unit cost should include material and delivery cost.
Note on B111: Purchase unit cost should include material and delivery cost.
Note on B124: Purchase unit cost should include material and delivery cost.
Note on B131: Purchase unit cost should include material and delivery cost.
Note on B138: Purchase unit cost should include material and delivery cost.
Note on B146: The unit cost should include the cost of cut, fill, and grade.
Note on B149: The unit cost should include the cost of fill and grade.
Note on B154: The unit cost should include labor, materials, geotextile, and equipment to furnish and install rip rap.
Note on B159: The unit cost should include labor, materials, and equipment to furnish and install gabian baskets.
Note on B169: Typical probe spacing is 1 probe every 250 feet.
Note on B170: The unit cost should include cost for boring, probe screen, casing, filter pack, bentonite seal, and surface pad, as applicable.
Note on B176: The unit cost should include cost for drilling, screen, casing, stone, and bentonite seal, as applicable.
Note on B180: The installation cost should include connection to blower/flare station or LFG power plant.
Note on B188: The unit cost should cover the cost for installation and materials for a 50 ft deep well.
Note on B197: See Guidance Memo 04-2011: Financial Assurance for Stockpiles of Materials for Beneficial Use or Other Uses
Note on B199: The Loading/Hauling and Disposal unit cost should be based on costs to haul and dispose of the material at the closest waste management facility.
Note on B205: The unit cost should include cost for labor, materials, and equipment to furnish, install, and maintain silt fence during closure construction.
Note on B213: The unit cost should include material and delivery cost.
Note on B220: The unit cost should include cost for labor, materials, and equipment to furnish and install perimeter fencing.
Note on B225: The unit cost should include cost for labor, materials, and equipment to furnish and install gates.
Note on B230: The unit cost should include cost for labor, materials, and equipment to furnish and install gates.

## CEW-02 Post-Closure
Worksheet CEW-02: FORMAT FOR THE ESTIMATION OF POST-CLOSURE COSTS
*FILL IN THE BOXES. THE REST WILL BE CALCULATED FOR YOU*
I. | Groundwater Monitoring |  |  | Calculation or Conversion
a. | Total number of monitoring wells | 5 | wells
b. | Total number of sampling events/year | 4 | events/yr | a x b | 20 | samples/yr
c. | Quantity of additional samples (e.g. QA/QC) | 1 | samples/event | b x c | 4 | samples/yr
d. | Total samples per year |  |  | b + c | 24 | samples/yr
e. | Analysis unit cost (Table 3.1 constituents) |  | /sample
f. | Total Analysis cost |  |  | d x e | 0 | /yr
g. | GW Monitoring unit cost |  | /event
i. | Total sampling cost |  |  | f + (g x b) | 0 | /yr
j. | Engineering fees & reports |  | /yr
| Yearly Groundwater Monitoring Cost |  |  | i + j | 0 | /yr
II. | Landfill Gas Monitoring, Maintenance, and Control
a. | Frequency of LFG compliance monitoring |  | events/yr
b. | LFG Monitoring unit cost |  | /event
c. | Total perimeter LFG monitoring cost |  |  | a x b | 0 | /yr
d. | Frequency of suface monitoring (air permit) |  | events/yr
e. | Surface monitoring unit cost |  | /event
f. | Total surface monitoring cost |  |  | d x e | 0 | /yr
g. | Control system operating unit cost |  | /yr
h. | Frequency of LFG control system inspections |  | events/yr
i. | Control system inspection cost |  | /event
j. | Total constrol system cost |  |  | g + (h x i) | 0 | /yr
| Yearly Landfill Gas Monitoring, Maintenance, & Control Cost |  |  | c + f + j | 0 | /yr
III. | Leachate Management
a. | Quantity of leachate generated |  | gal/yr
On-site Leachate Management or Pre-Treatment
b. | On-site treatment operating unit cost |  | /gal
c. | Total on-site management cost |  |  | a x b | 0 | /yr
Leachate Disposal
d. | Private disposal unit cost |  | /gal
e. | POTW disposal unit cost |  | /gal
f. | Direct discharge to POTW unit cost |  | /gal
g. | Pump & Haul unit cost |  | /gal
h. | Subtotal leachate disposal unit cost |  |  | d + e + f + g | 0
i. | Total leachate disposal cost |  |  | a x h | 0 | /yr
j. | Leachate sampling & analysis unit cost |  | /sample
k. | Frequency of leachate sampling & analysis |  | sample/yr
l. | Total leachate sampling & analysis cost |  |  | j x k | 0 | /yr
| Yearly Leachate Management Cost |  |  | c + i + l | 0 | /yr
Closure of Leachate Storage Units
m. | Total Cost to Decommission/Remove
| One-time Leachate Unit Closure Cost at end of PCC |  |  | m | 0
IV. | Cap Maintenance & Repair
a. | Closed Landfill Area |  | acres
Mowing & Fertilization
b. | Mowing frequency |  | visits/yr
c. | Mowing unit cost |  | /acre/visit
d. | Total mowing cost |  |  | a x b x c | 0 | /yr
e. | Fertilizer frequency |  | visits/yr
f. | Fertilizer unit cost |  | /acre/visit
g. | Total fertilizer cost |  |  | a x e x f | 0 | /yr
Cap Erosion & Repair
h. | Area to reseed/year |  |  | 33% x a | 0 | acres
i. | Reseeding unit cost |  | /acre
j. | Total reseeding cost |  |  | h x i | 0 | /yr
k. | Area of cap erosion/year |  |  | 10% x a | 0 | acres
l. | Cap erosion repair unit cost |  | /acre
m. | Mobilization/Demobilization |  | /yr
n. | Total cap erosion repair cost |  |  | (k x l) + m | 0 | /yr
| Yearly Cap Maintenance & Repair cost |  |  | d + g + j + n | 0 | /yr
V. | Sediment Basin Maintenance & Repair
a. | Sediment basin cleanout frequency, 1 per | 3 | years | 1 / a | 0.33333 | event/yr
b. | Sediment basin cleanout unit cost |  | /event
c. | Mobilization/Demobilization |  | /event
d. | Total sediment basin maintenance cost |  |  | a x (b + c) | 0 | /yr
e. | Total number of stormwater sampling locations |  | locations
f. | Stormwater sampling frequency |  | events/yr
g. | Total number of stormwater samples |  |  | e x f | 0 | samples/yr
h. | Analysis unit cost (VPDES permit parameters) |  | /sample
i. | Total Analysis cost |  |  | g x h | 0 | /yr
j. | Mobilization unit cost |  | /event
k. | Technician field unit cost |  | /event
l. | Total sampling cost |  |  | f x (j + k) | 0 | /yr
m. | Engineering fees & reports |  | /yr
n. | Total Stormwater Sampling & Analysis cost |  |  | i + l + m | 0 | /yr
| Yearly Sediment Basin Maintenance & Repair |  |  | d + n | 0 | /yr
VI. | Vector & Rodent Control
a. | Vector and rodent control unit cost |  | /yr
| Yearly Vector and Rodent Control Cost |  |  | a | 0 | /yr
VII. | Post-Closure Care General Inspections
a. | General Inspection unit cost |  | /inspection
b. | Number of inspections per year
| Yearly Post-Closure Care General Inspection Cost |  |  | a x b | 0 | /yr
VIII. | Underdrain Monitoring |  |  | Calculation or Conversion
a. | Total number of monitoring locations |  | wells
b. | Total number of sampling events/year |  | events/yr | a x b | 0 | samples/yr
c. | Quantity of additional samples (e.g. QA/QC) |  | samples/event | b x c | 0 | samples/yr
d. | Total samples per year |  |  | b + c | 0 | samples/yr
e. | Analysis unit cost (leachate indicator parameters) |  | /sample
f. | Total Analysis cost |  |  | d x e | 0 | /yr
g. | Underdrain Monitoring unit cost |  | /event
i. | Total sampling cost |  |  | f + (g x b) | 0 | /yr
j. | Engineering fees & reports |  | /yr
| Yearly Underdrain Monitoring Cost |  |  | i + j | 0 | /yr
| Annual Post-Closure Care Cost (APCC) |  |  | I + … + VIII | 0 | /yr
| Length of post-closure care (LPCC) |  | years
| Post-Closure Care Cost |  |  | (APCC x LPCC) + III.m. | 0
| Engineering & Documentation |  |  | Engineering Sum | 0
Post-Closure Care Evaluation
Post-Closure Care Certification
Cost for survey and deed notation
(if not completed at time of landfill closure)
| FA Mechanism Maintenance Cost |  | /yr | FA maintenance x LPCC | 0
| Total Post-Closure Care Cost |  |  | Post-Closure Cost + Engineering + FA Maintenance |  | 0
Facilities are not required to use Worksheets CEW-01 and CEW-02; these forms are merely provided for facility use in an effort to show the depth of items to be addressed when preparing closure and post-closure care cost estimates. Facility-specific or alternate worksheets will be accepted for review and should accompany a certified DEQ Form CE SWDF.
Note on B12: The unit cost should include include technician and equipment costs associated with monitoring all groundwater compliance wells)
Note on B19: The unit cost should include include technician and equipment costs associated with monitoring all perimeter probes and on-site structures)
Note on B24: Unit cost should cover the average annual cost of operating LFG control system, to include cost of operating blower/flare station, etc.
Note on B26: The inspection cost should include technician and equipment costs associated with monitoring vents, extraction wells, blowers, flares, LFG to energy plants, etc.)
Note on B31: The quantity of leachate should be based on facility records for facilities. Modeling should be used in instances where the facility cannot measure leachate discharged.
Note on B69: The unit cost should include cost for equipment and materials to correct erosion and establish new vegetation, assuming 18-inch depth of soil needed)
Note on B98: Cost should account for personnel time to complete routine inspections per Post-Closure Care Plan Inspection Frequency.
Note on B109: The unit cost should include include technician and equipment costs associated with monitoring all underdrain sampling locations)
Note on B117: 10 years for CDD and Industrial Landfills 30 years for CCR Landfills & Impoundments 30 years for Sanitary Landfills (see 9 VAC 20-81-170) For facilities currently in post-closure and seeking a reduction in post-closure FA; a minimum of 5 years worth of post-closure funds should be maintained. If the facility is currently undergoing groundwater corrective action, a minimum of 10 years should be maintained.
Note on B122: See Submission Instruction No. 20 for details regarding the breadth of analysis required for the Termination of Post-Closure Care Activity Evaluation
Note on B127: Some financial assurance mechanisms, such as standby and funded trusts, have annual maintenance fees that are assessed by the financial institution. Any fees or maintenance costs associated with the FA mechanism selected shall be included in the cost estimate.