|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **COMMONWEALTH OF VIRGINIA**  **IMPRESSED CURRENT CATHODIC PROTECTION**  **60-DAY RECORD OF RECTIFER OPERATION** | | | | | | | | | | | | |
| > This form may be utilized to document that the cathodic protection system rectifier is checked for operation at least once every 60 days.  > Checked for operation is taken to mean that it was confirmed the rectifier was receiving power and is “turned-on”.  > Any significant variance should be reported to the corrosion professional so that any repairs and/or adjustments necessary can be made. | | | | | | | | | | | | |
| **UST OWNER** | | | | | **UST FACILITY** | | | | | | | |
| **NAME:** | | | | | **NAME:** | | | | | | | **ID #** |
| **ADDRESS:** | | | | | **ADDRESS:** | | | | | | | |
| **CITY:** | | | **STATE:** | | **CITY:** | | | | | **COUNTY:** | | |
| **IMPRESSED CURRENT RECTIFIER DATA** | | | | | | | | | | | | |
| Rectifier Manufacturer: | | | | | | | **Rated DC Output:** VOLTS AMPS | | | | | |
| Rectifier Model: | | | | | | | Rectifier Serial Number: | | | | | |
| What is the ‘as designed’ or lastly recommended rectifier output? VOLTS AMPS | | | | | | | | | | | | |
| **60-DAY LOG OF RECTIFIER OPERATION** | | | | | | | | | | | | |
| DATE  INSPECTED | RECTIFIER  TURNED ON? | TAP SETTINGS | | DC OUTPUT | | | | HOUR  METER | INSPECTOR INITIALS | | COMMENTS | |
| COARSE | FINE | VOLTS | | AMPS | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
|  |  |  |  |  | |  | |  |  | |  | |
| PRODUCED BY THE VIRGINIA DEPARTMENT OF ENVIRONMENTAL QUALITY, UST PROGRAM | | | | | | | | | | | | |
| PO BOX 10009, RICHMOND, VA 23230-0009 PHONE (804) 698-4010 FACSIMILE (804) 698-4266 [www.deq.virginia.gov](http://www.deq.virginia.gov) 03/05 | | | | | | | | | | | | |